
SECTION 05 73 11PRIVATE 

ALUMINUM RAILINGS
*****  Ametco Manufacturing Corporation manufactures several types of aluminum railings.  This guide specification section can be used to specify Ametco's Apollo, Blade,  Falcon, Galaxy, Sedona and Venus Aluminum Railings.  These extruded aluminum railing systems are functional, decorative, and lightweight with a smooth finish and durable polyester powder coating.  Other railing systems manufactured by Ametco Manufacturing Corporation can be specified with the following guide specifications:



05 73 10  05 73 10 Master Spec for Open Grille Steel Railing System
The specifier will need to edit this product specification for a specific project to reflect the options and applications being used.  The guide section has been written so that most editing can be accomplished by deleting unnecessary requirements.  Options are indicated by  [   ].  Notes to assist the specifier in selecting options and editing the specification guide are printed in bold and indicated with  *****.  For final editing, all brackets and notes will need to be deleted from the guide. 

******************************************************************************
PART 1 - GENERAL
1.1
SUMMARY


A.
Section includes:  Aluminum railings fabricated from extruded aluminum sections including aluminum railing posts.


B.
Related sections:

*****  List other specification sections dealing with work directly related to this section such as the following.  *****



1.
Section 03 30 00 - Cast-in-Place Concrete:  Concrete footings for support of fence posts.



1.2

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
REFERENCES
****  List by number and full title reference standards referred to in remainder of specification section.  Delete non-applicable references.  *****


A.
American Society for Testing and Materials (ASTM) Publications:




1.
ASTM B209 - Aluminum and Aluminum-Alloy Sheet and Plate.




2.
ASTM B221 - Aluminum‑Alloy Extruded Bar, Rod, Wire, Shape, and Tube.




3.
ASTM B117 - Standard Practice for Operating Salt Spray (Fog) Apparatus.




4.
ASTM D822 - Tests on Paint and Related Coatings Using Filtered Open-Flame Carbon-Arc Exposure Apparatus.




5.
ASTM D2794 - Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact).




6.
ASTM D3363 - Test Method for Film Hardness by Pencil Test.

1.3

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
DESIGN REQUIREMENTS


A.
Railing assemblies and attachments shall be designed, fabricated, and installed in accordance with ASTM A1264, ASTM E894, ASTM E935 to support:




1.
200 pounds concentrated loading applied at any point in any direction.




2.
50 pounds per linear foot uniform load applied horizontally to top of rail.

1.4seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
SUBMITTALS


A.
Provide in accordance with Section 01 33 00 - Submittal Procedures:




1.
Product data for components and accessories.




2.
Shop drawings showing layout, dimensions, profiles, spacing of components, [interface with electric gate operator,] and anchorage and installation details.




3.
Copy of warranty specified in Paragraph 1.4 for review by Architect.

1.5seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
WARRANTY


A.
Provide in accordance with Section 01 77 00 - Closeout Procedures:




1.
20 years warranty for factory finish against cracking, peeling, and blistering under normal use.

PART 2 - PRODUCTS
2.1

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
ACCEPTABLE MANUFACTURERS


A.
Ametco Manufacturing Corporation, 4326 Hamann Parkway, P.O. Box 1210, Willoughby, Ohio 44096; 800-362-1360.

           B.
Requests to use equivalent products of other manufacturers shall be submitted in accordance with Section 01 63 00 - Product Substitution Procedures.

2.2

seq level1 \h \r0 

seq level2 \h \r0 
MATERIALS


A.
Extruded aluminum:  ASTM B221, Alloy 6063, Temper T-6.



B.
Sheet aluminum:  ASTM B209 6063, Temper T-6.



C.
Grout:  Non-shrink type, pre-mixed compound consisting of non-metallic aggregate, cement, and water reducing and plasticizing additives.

2.3

seq level1 \h \r0 

seq level2 \h \r0 
RAILING  SYSTEM

*****  Ametco Manufacturing Corporation provides six types of aluminum railings.

          Apollo: 1/2 by 2 inch (13 by 52mm) extruded aluminum tubular blades

          spaced vertically on 2 inch (102mm) centers. Railing weighs 2.75 PSF (13.43

          kg/sq M)



Blade:  1/2 by 4 inch (13 by 52mm) extruded aluminum tubular blades spaced vertically or horizontally on 4 inch (102 mm) centers. Railing weighs 1.75 PSF   (8.54 kg/sq M)

          Falcon: 1 inch [26 mm] extruded aluminum tube spaced  horizontally 4 inch [102 mm] on center. Railing weight .085 PSF [.415 kg/sq M]

           Galaxy: 1/2 by 4 inch (13 by 51 mm) extruded aluminum tubular blades spaced                 vertically on 3-1/2 inch (89 mm) centers Railing weighs 1.75 PSF (8.54 kg/sq M)

           Sedona: 1/2 by 2 inch (13 by 51mm) and 1/2 by 4 inch 913 by 102mm) extruded               aluminum tubular alternating blades spaced either vertically or horizontally.                  Opening between blades can range from 1 to 4 inches (25 to 102mm). Railing weight           with 1 inch (25 mm) opening space is 2 PSF (9.76 kg/sq/M). 

          Venus: 1/2 by 2 inch (13 by 51) extruded aluminum tubular blades spaced either              vertically or horizontally. Opening between blades can range from 1 to 4 inches (25           to 102 mm). Railing weight with 1 inch (25mm) opening space is 1.75 PSF (8.54      kg/sq M)

*****  Include the following to specify Apollo Aluminum Railing.  *****


A.seq level3 \h \r0 
Type:  System of extruded aluminum tubular vertical blades attached to aluminum extruded framing bars and aluminum posts; Apollo Aluminum Railing as manufactured by Ametco Manufacturing Corporation.

*****  Apollo Aluminum Railing is provided with [1/2 inch x 2 inch] [13 x 52mm] tubular aluminum blades on 2 inch (51 mm) centers   *****



1.
Blades :  Ridged, tubular aluminum sections equally spaced vertically on 2 inch center





a.
Size:  [1/2 by 2 inch] [13 by 51 mm].





b.
Material thickness:  [0.09 inch] [2 mm]. 

*****  Apollo  Aluminum Railing can be provided in heights up to 42 inches (1071 mm).  ***** 



2.seq level4 \h \r0 
Railing height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Railing posts for aluminum railing are extruded aluminum tubular shapes.  *****



B.seq level3 \h \r0 
Posts:  [2inches x 2 inches] [51 mm x 51 mm] extruded aluminum tubular shapes.

*****  Post length will be determined by railing height and foundation design.  *****



1.
Length:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Include the following to specify Blade Aluminum Railing.  *****


C.
Type:  System of modular railing panels fabricated from extruded aluminum tubular blades and top and bottom aluminum rails field attached to aluminum posts;  Blade Aluminum Railing as manufactured by Ametco Manufacturing Corporation.




2.
Blades:  Ridged, tubular aluminum sections spaced [vertically] or [horizontally] with [4 inch] [102 mm] opening between blades.





a.
Size:  [1/2 by 4 inch] [13 by 102 mm].





b.
Material thickness:  [0.09 inch] [2 mm]. 




3.seq level4 \h \r0 
Rails:  [1/2 by 4 inch] [13 by 51 mm] extruded aluminum channels.

*****  Blade Aluminum Railing can be provided in heights up to 42 inches (1071 mm).  ***** 



4.
Panel height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Include the following to specify Falcon Picket Aluminum Railing.  *****


F.
Type:  System of modular railing panels fabricated from aluminum swaged  tubular blades and top and bottom aluminum rails field attached to aluminum posts;  Falcon Picket Aluminum Railing as manufactured by Ametco Manufacturing Corporation.

                      2.
Tubes:  Ridged, swaged round aluminum sections spaced horizontally [4 inch] [102 mm] on centers.





a.
Size:  [1 inch] [26 mm].





b.
Material thickness:  [0.083 inch] [2 mm]. 




3.seq level4 \h \r0 
Top and bottom Rails:  [1-1/2 by 3/4 inch] [39 by 20 mm] aluminum channels.

*****  Falcon Aluminum Railing can be provided in heights up to 42 inches (1,071 mm).  ***** 



4.
Panel height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Railing posts for aluminum railing are extruded swaged aluminum tubular shapes.  *****



G.seq level3 \h \r0 
Posts:  [2-1/2 inch] [65 mm] with [ .125 inch] [3.25mm] wall aluminum tube shapes.

*****  Post length will be determined by railing height and foundation design.  *****



1.
Length:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Include the following to specify Galaxy Aluminum Railing.  *****


H.seq level3 \h \r0 
Type:  System of extruded aluminum vertical blades with extruded aluminum frame to be field attached to  aluminum posts; Galaxy Aluminum Railing as manufactured by Ametco Manufacturing Corporation.

*****  Galaxy  Aluminum Railing is provided with vertical blades  *****



1.
Blades:  Ridged, tubular aluminum sections equally spaced on [3-1/2 inch]  center..





a.
Size:  [1/2 by 2 inch] [13 by 52 mm].





b.
Material thickness:  [0.09 inch] [2 mm]. 

*****  Galaxy  Aluminum Railing can be provided in heights up to 42 inches (1,071 mm).  ***** 



2.seq level4 \h \r0 
Railing height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Railing posts for aluminum railing are extruded aluminum tubular shapes.  *****



I.seq level3 \h \r0 
Posts:  [2 by 2 inch] [51mm by 51 mm] extruded aluminum tubular shapes.

*****  Post length will be determined by railing height and foundation design.  *****



1.
Length:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Include the following to specify Venus Aluminum Railing.  *****


E.seq level3 \h \r0 
Type:  System of extruded aluminum [horizontal] or [vertical] tubes with extruded aluminum framing to be field attached to aluminum posts; Venus Aluminum Railing as manufactured by Ametco Manufacturing Corporation.

*****  Venus Aluminum Railing can be provided with either vertical or aluminum blades. Opening between blades can range from 1 to 4 inches(25 to102mm) Edit the following paragraphs to reflect required fence configuration.  *****



1.
Blades:  Ridged, tubular aluminum sections equally spaced [vertically] or  [horizontally]. 





a.
Size:  [1/2 by 2 inch] [13 by 52 mm].





b.
Material thickness:  [0.09 inch] [2 mm]. 

                      c. Opening between blades: [    ] [inch] [  mm]

*****  Venus Aluminum Railing can be provided in heights up to 42 inches (1071 mm).  ***** 



2.seq level4 \h \r0 
Railing height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Railing posts for aluminum railing are extruded aluminum tubular shapes.  *****



3.seq level3 \h \r0 
Posts:  [2 by 2 inches] [51 by 51 mm] extruded aluminum tubular shapes.

*****  Post length will be determined by railing height and foundation design.  *****



4.
Length:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Include the following to specify Sedona Aluminum Railing.  *****


I.seq level3 \h \r0 
Type:  System of extruded aluminum [vertically]  [horizontal] blades with extruded aluminum framing to be field attached to aluminum posts. Sedona Aluminum Railing as manufactured by Ametco Manufacturing Corporation.

*****  Sedona Aluminum Railing is provided with two widths of blades which are installed either vertically or horizontally in an alternating pattern. Opening between blades can range from 1 to 4 inches (25 to 102mm). Edit the following paragraphs to reflect required railing configuration.  *****



1.
Blades: Two widths of rigid, tubular aluminum section installed [vertically] [horizontally] in an alternating pattern: 





a.
Size:  [1/2 by 2 inch] [13 by 52mm] and [1/2 by 4 inch] [13 by 102 mm].





b.
Material thickness:  [0.09 inch] [2 mm]. 

                      c.   Opening between blades: [     ] [inch] [mm]

*****  Sedona Aluminum Railing can be provided in heights up to 42 inches (1071 mm).  ***** 



2.seq level4 \h \r0 
Railing height:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

*****  Railing posts for aluminum railing are extruded aluminum tubular shapes.  *****



J.seq level3 \h \r0 
Posts:  [2 by 2 inches] [51 by 51 mm] extruded aluminum tubular shapes.

*****  Post length will be determined by Railing height and foundation design.  *****



1.
Length:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]




2.
Spacing:  [[_____]  [inches] [mm].]  [As indicated on Drawings.]

2.5

seq level1 \h \r0 

seq level2 \h \r0 
ACCESSORIES


A.
Fasteners:  Stainless steel bolts of type, size, and spacing as recommended by fence manufacturer for specific condition.



B.
End caps:  Provide aluminum caps for exposed open extruded aluminum sections and for attachment of components to posts.

2.6

seq level1 \h \r0 

seq level2 \h \r0 
FACTORY FINISH
*****  Except for large gate panels, factory applied finish for aluminum railing is a polyester powder coating.  Large gate panels will receive a factory applied durable polyurethane coating.  Contact Ametco Manufacturing Corporation for size limitations.  *****


A.
Aluminum railing panels and posts shall receive polyester powder coating.  [Large gate panels shall be coated with 2-part polyurethane coating.]



B.
Polyester powder coating:  Electrostatically applied colored polyester powder coating heat cured to chemically bond finish to metal substrate.




1.
Minimum hardness measured in accordance with ASTM D3363:  2H.




2.
Direct impact resistance tested in accordance with ASTM D2794.  Withstand 160 inch-pounds.

                    3.
Salt spray resistance tested in accordance with ASTM B117:  No undercutting,                             rusting, or blistering after 500 hours in 5 percent salt spray at 95 degrees F and                              95 percent relative humidity and after 1000 hours less than [3/16 inch] [5 mm]                              undercutting.




4.
Weatherability tested in accordance with ASTM D822:  No film failure and 88 percent gloss retention after 1 year exposure in South Florida with test panels tilted at 45 degrees.

*****  Include the following paragraphs if a polyurethane coating is required for large gate panels.  *****


C.seq level3 \h \r0 
Polyurethane coating:  1.0 mil dry film thickness of coating cured 30 minutes at 180 degree F and aged 14 days shall resist the following test conditions without failure:




1.
5 percent salt spray for 500 hours.




2.
100 percent relative humidity for 1000 hours.




3.
Water immersion for 100 hours.




4.
20 double rubs with cloth saturated with either lacquer thinner, acetone, MEK, gasoline, xylene.




5.
Exposure to lubricating oils, hydraulic fluids, and cutting oils.




6.
16 cycles of 24 hours at 100 percent humidity, 24 hours at 10 degrees F, and 24 hours at 77 degrees F.




7.
Hardness:  H to 2H.




8.
Flexibility:  [1/8 inch] [3 mm] conical mandrel.

*****  Ametco Manufacturing Company provides 15 standard colors.  Custom colors are available for minimum size orders.  Contact Ametco Manufacturing Company for information on custom colors.  *****



D.seq level3 \h \r0 
Color:  [[Red Baron] [Black Velvet] [Blue Streak] [Bronze Mat] [Cal Gray]  [Charlie Brown] [Cream]  [Light Blue] [Light Ivory] [Moss Green] [Pale Green] [Safety Orange] [Safety Yellow] [Silver with weather resistant clear coating] [White] as manufactured by Ametco Manufacturing Company.] [Selected by Architect from manufacturer's standard range.] [Custom color as selected by Architect.] 

PART 3 - EXECUTION
3.1

seq level1 \h \r0 

seq level2 \h \r0 
PREPARATION


A.
Prior to fabrication, field verify required dimensions.

.  

*****  Size of concrete railing footings will depend on railing height, post spacing, and other project conditions.  Footing dimensions may be indicated on Drawings or in this section but not both locations in order to eliminate potential conflicts.  Edit the following paragraphs to reflect specific project conditions.  *****  


C.
Cast concrete footings in accordance with Section 03 30 00 - Cast-in-Place Concrete as detailed on Drawings and approved shop drawings.




1.
Minimum footing diameter:





a.
Terminal posts:  [12 inches.] [305 mm.]





b.
Intermediate line posts:  [10 inches.] [254 mm.]




2.seq level4 \h \r0 
Allow [8 inches] [203 mm] [_____] minimum embedment of posts.




3.
Allow [6 inches] [152 mm] [_____] minimum concrete beneath post bottom.



D.seq level3 \h \r0 
[Provide setting holes for embedment of fence posts.]  [Core drill existing concrete footings for embedment of railing posts.]  Hole shall be [2 inches] [51 mm] minimum greater than post width.

3.2

seq level1 \h \r0 

seq level2 \h \r0 
INSTALLATION


A.
Install railing in accordance with manufacturer's installation instructions and reviewed shop drawings.



B.
Install railing posts plumb and level [by setting post in hole [cast] [drilled] in concrete and grouting solid.]  [by embedding post directly in concrete footing.]  Temporarily brace railing posts with wood supports until [concrete] [grout] is set.



C.
Do not installed bent, bowed, or otherwise damaged components.  Remove damaged components from site and replace.

            D.
Secure railing [panels] [rails] with [standard stainless steel bolts] [stainless steel anti-                     intruder bolts] to fence posts [prior to setting posts in footings.] [after posts have                           been set in footings.]


END OF SECTION
